## load list template
No | Equipment Name | Load Type | Number of Phases | Quantity of Equipment | Rated Power per Equipment | kW/Hp | Power Factor | Motor Starting Method | Start-up Priority | Uninterrupted power supply
1 | Compressor | Motor | 3PH | 1 | 25 | Hp | 0.8 | DOL | Emergency | No
3 | Condenser Fan | Motor | 3PH | 4 | 0.5 | kW | 0.8 | DOL | Emergency | No
4 | Evaporator Fan | Motor | 3PH | 4 | 0.5 | kW | 0.8 | DOL | Emergency | No
5 | Evaporator Heater | non-Motor | 3PH | 2 | 10.5 | kW | 1 | DOL | Non-Emergency | No
6 | Compressor Heater | non-Motor | 1PH | 1 | 1.5 | kW | 1 | DOL | Emergency | No
7 | Drain Heater | non-Motor | 1PH | 4 | 0.5 | kW | 1 | DOL | Emergency | No
8 | Compressor | Motor | 3PH | 1 | 25 | Hp | 0.8 | DOL | Emergency | No
9 | Condenser Fan | Motor | 3PH | 4 | 0.5 | kW | 0.8 | DOL | Emergency | No
10 | Evaporator Fan | Motor | 3PH | 4 | 0.5 | kW | 0.8 | DOL | Emergency | No
11 | Evaporator Heater | non-Motor | 3PH | 2 | 10.5 | kW | 1 | DOL | Non-Emergency | No
12 | Compressor Heater | non-Motor | 1PH | 1 | 1.5 | kW | 1 | DOL | Emergency | No
13 | Drain Heater | non-Motor | 1PH | 4 | 0.5 | kW | 1 | DOL | Emergency | No
14 | Compressor | Motor | 3PH | 1 | 25 | Hp | 0.8 | DOL | Emergency | No
15 | Condenser Fan | Motor | 3PH | 4 | 0.5 | kW | 0.8 | DOL | Emergency | No
16 | Evaporator Fan | Motor | 3PH | 4 | 0.5 | kW | 0.8 | DOL | Emergency | No
17 | Evaporator Heater | non-Motor | 3PH | 2 | 10.5 | kW | 1 | DOL | Non-Emergency | Yes
18 | Compressor Heater | non-Motor | 1PH | 1 | 1.5 | kW | 1 | DOL | Emergency | No
19 | Drain Heater | non-Motor | 1PH | 4 | 0.5 | kW | 1 | DOL | Emergency | No
20 | Compressor | Motor | 3PH | 1 | 25 | Hp | 0.8 | DOL | Emergency | No
21 | Condenser Fan | Motor | 3PH | 4 | 0.5 | kW | 0.8 | DOL | Emergency | No
22 | Evaporator Fan | Motor | 3PH | 4 | 0.5 | kW | 0.8 | DOL | Emergency | No
23 | Evaporator Heater | non-Motor | 3PH | 2 | 10.5 | kW | 1 | DOL | Non-Emergency | Yes
24 | Compressor Heater | non-Motor | 1PH | 1 | 1.5 | kW | 1 | DOL | Emergency | No
25 | Drain Heater | non-Motor | 1PH | 4 | 0.5 | kW | 1 | DOL | Emergency | No
26 | Compressor | Motor | 3PH | 1 | 25 | Hp | 0.8 | DOL | Emergency | No
27 | Condenser Fan | Motor | 3PH | 4 | 0.5 | kW | 0.8 | DOL | Emergency | No
28 | Evaporator Fan | Motor | 3PH | 4 | 0.5 | kW | 0.8 | DOL | Emergency | No
29 | Evaporator Heater | non-Motor | 3PH | 2 | 10.5 | kW | 1 | DOL | Non-Emergency | No
30 | Compressor Heater | non-Motor | 1PH | 1 | 1.5 | kW | 1 | DOL | Emergency | No
31 | Drain Heater | non-Motor | 1PH | 4 | 0.5 | kW | 1 | DOL | Emergency | No
32 | Compressor | Motor | 3PH | 1 | 25 | Hp | 0.8 | DOL | Emergency | No
33 | Condenser Fan | Motor | 3PH | 4 | 0.5 | kW | 0.8 | DOL | Emergency | No
34 | Evaporator Fan | Motor | 3PH | 4 | 0.5 | kW | 0.8 | DOL | Emergency | No
35 | Evaporator Heater | non-Motor | 3PH | 2 | 10.5 | kW | 1 | DOL | Non-Emergency | Yes
36 | Compressor Heater | non-Motor | 1PH | 1 | 1.5 | kW | 1 | DOL | Emergency | No
37 | Drain Heater | non-Motor | 1PH | 4 | 0.5 | kW | 1 | DOL | Emergency | No
38 | Compressor | Motor | 3PH | 1 | 30 | Hp | 0.8 | DOL | Emergency | No
39 | Condenser Fan | Motor | 3PH | 6 | 0.5 | kW | 0.8 | DOL | Emergency | No
40 | Evaporator Fan | Motor | 3PH | 6 | 0.5 | kW | 0.8 | DOL | Emergency | No
41 | Evaporator Heater | non-Motor | 3PH | 2 | 10.5 | kW | 1 | DOL | Non-Emergency | No
42 | Compressor Heater | non-Motor | 1PH | 1 | 1.5 | kW | 1 | DOL | Emergency | No
43 | Drain Heater | non-Motor | 1PH | 4 | 0.5 | kW | 1 | DOL | Emergency | No
44 | Compressor | Motor | 3PH | 1 | 30 | Hp | 0.8 | DOL | Emergency | No
45 | Condenser Fan | Motor | 3PH | 6 | 0.5 | kW | 0.8 | DOL | Emergency | No
46 | Evaporator Fan | Motor | 3PH | 6 | 0.5 | kW | 0.8 | DOL | Emergency | No
47 | Evaporator Heater | non-Motor | 3PH | 2 | 10.5 | kW | 1 | DOL | Non-Emergency | No
48 | Compressor Heater | non-Motor | 1PH | 1 | 1.5 | kW | 1 | DOL | Emergency | No
49 | Drain Heater | non-Motor | 1PH | 4 | 0.5 | kW | 1 | DOL | Emergency | No
50 | Cold Storage Lighting 1 | non-Motor | 1PH | 1 | 5.7 | kW | 0.8 | DOL | Emergency | No
51 | Cold Storage Lighting 2 | non-Motor | 1PH | 1 | 1.36 | kW | 0.8 | DOL | Emergency | No
52 | Outdoor Lighting 1 | non-Motor | 1PH | 1 | 3 | kW | 0.8 | DOL | Emergency | No
53 | Office Lighting | non-Motor | 1PH | 1 | 2.6 | kW | 0.8 | DOL | Non-Emergency | No
54 | Boiler Pump | Motor | 3PH | 2 | 4 | kW | 0.8 | DOL | Emergency | No
55 | Air Conditioner | Motor | 3PH | 2 | 6 | kW | 0.8 | Inverter | Non-Emergency | No
56 | Air Conditioner | Motor | 1PH | 3 | 2.5 | kW | 0.8 | DOL | Non-Emergency | No
57 | Air Conditioner | Motor | 1PH | 5 | 2.5 | kW | 0.8 | DOL | Non-Emergency | No
58 | Computer | non-Motor | 1PH | 40 | 0.25 | kW | 0.8 | DOL | Emergency | No
59 | Printer | non-Motor | 1PH | 6 | 1 | kW | 0.8 | DOL | Emergency | No
60 | Car Charger | Motor | 3PH | 12 | 5 | kW | 0.8 | DOL | Non-Emergency | No
61 | Forklift & Pallet Truck Charger | non-Motor | 1PH | 3 | 3.5 | kW | 0.8 | DOL | Non-Emergency | No
62 | Workshop & Car Wash | non-Motor | 1PH | 1 | 5 | kW | 0.8 | DOL | Non-Emergency | Yes
63 | Server Room | non-Motor | 1PH | 1 | 2.5 | kW | 0.8 | DOL | Emergency | No
64 | Fire Extinguishing System | Motor | 3PH | 2 | 5.5 | kW | 0.8 | DOL | Emergency | No
65 | Lift | Motor | 3PH | 2 | 5.5 | kW | 0.8 | DOL | Emergency | No
66 | Roll-up Doors | Motor | 1PH | 13 | 0.5 | kW | 0.8 | DOL | Emergency | No
Load LIST for PROJECT XXXXXXXX